## Slide 1
Using computer simulations to assess
energy and carbon reductions
in building CDM projects
Joe Huang
March 14, 2011

## Slide 2
Computer simulations, especially when used in conjunction with measured data, are the most reliable and technically defensible method for determining energy savings in buildings.
A building energy simulation program is no less and no more than an hour-by-hour calculation of a building's energy use using complex thermodynamic equations that take into account the constant changes in the weather and the building's internal conditions, and the dynamic response of the building and space conditioning system to such changing conditions.
Computer simulation programs are very good in keeping track of the building physics.
Computer simulation programs are not good at predicting occupant behavior. The largest cause of error between simulated and measured energy usage are differences between the assumed and actual operating schedules of the building.
The appropriateness of using computer simulations for building CDM

## Slide 3
Computer simulations have been used for over twenty years to demonstrate compliance to building energy standards, particularly in the U.S., but also increasingly in other countries including China and India.
Computer simulations are also used to calculate energy credits for green building certification, e.g., LEED, for evaluating DSM projects to go beyond the building energy standard, and to determine the energy savings from building efficiency projects, e.g., calibrated simulation is included in IPMVP as Option D for assessing whole-building retrofit projects when direct measurement of energy reductions is difficult.
Even when measured data are plentiful, computer simulations are still needed to normalize the data for differences in weather, and changes in human behavior or other exogenous effects. (NM0120 was rejected, because it could not isolate efficiency gains from external factors).
There are precedents for the use of building energy simulation under CDM (Project using AMS II.E, AMS III.AE)
Computer simulations have been used for decades to evaluate building energy performance

## Slide 4
The reliability of computer simulations for determining building energy savings (1)
The discrepancies often cited between simulated and measured results occur because simulations were being used to predict energy use in the absence of information on the building conditions, such as in compliance calculations for new buildings that have yet to be constructed.
Furthermore, in many of these applications, the primary goal of the simulations is not to accurately predict future building energy use, but to create a level playing field by which all buildings are evaluated fairly under the same operating conditions and weather.

## Slide 5
The reliability of computer simulations for determining building energy savings (2)
When there is measured energy data, such as for an existing building, the computer model can be calibrated to reduce the discrepancy to small values (typically within 10% annual, 30% monthly).
The reliability of the simulation results depends largely on the availability of input data to develop and output data to calibrate the computer model. In any case, given the same input and output information, the results from computer simulations will be as reliable or more so than those produced by any other method, especially in determining the amount of energy savings.
As to producing a conservative estimate, that is dependent entirely on the design of the modeling methodology, although this will lead to questions of equity and neutrality that would relate to any CDM methodology for buildings, e.g., should the energy savings be evaluated for constant indoor conditions or not? what if a building post-retrofit have improved indoor conditions in partial or total exchange for energy savings ?

## Slide 6
An example of using computer simulations to evaluate building energy performance in Tianjin (1)
“Monitoring and Evaluation of Building and Heating System Energy Performance of the Diliutianyuan Integrated Demonstration Subproject, Tianjin City”, a research project sponsored by the World Bank 2007-2010 to evaluate the energy savings potentials for new residential buildings built according to Tianjin’s new 65% energy-saving building energy standard.
Computer models were created using eQUEST, and then calibrated against measured energy use data.

## Slide 7
An example of using computer simulations to evaluate building energy performance in Tianjin (2)
After calibration, simulated and measured data were very close to each other.
O
Once the computer model has been calibrated, it was then
used to determine
the savings com pared to the older
building energy code.

## Slide 8: Characteristics of the eQUEST program
Most widely used building energy simulation program in the world
Available for free download via the Web
Easy-to-use user interface
Contains built-in capability to manage rule sets
Proposed CDM modeling methodology will be incorporated in a custom “rule set” that must be used when running eQUEST.
Supporting weather data for over 3,000 international locations will be made available in 2011.