## Slide 1: 4 basic approaches to determining energy efficiency benefits (savings)
Stipulated or deemed savings
Individual Building Metering – Measurement and Verification (all buildings or sample)
Individual Building Calibrated Simulation (all buildings or sample)
Large Scale Data Analysis
<number>

## Slide 2: Issues for Small Scale Building EE Methodologies
Background Approved building related Small Scale methodologies (AMS-II.E, AMS-III.AE) http://cdm.unfccc.int/methodologies/SSCmethodologies/approved
Proposed new methodology under consideration NM0053 http://cdm.unfccc.int/methodologies/SSCmethodologies/pnm/byref/SSC-NM053
See Handout
<number>

## Slide 3: Issues for Simulation Methodology
Overall question: What is the applicability and reliability of using computer simulation for determining energy savings in buildings (for both retrofit of existing buildings and new construction activities), in the context of CDM?
1. Is this approach reliable and conservative? If not, what changes may be possible, in terms of:(a) Identifying the baseline building(s), particularly for projects involving new construction; (b) Collection of model input data; (c) Conditions, procedures and requirements for model calibration; (d) Procedures and data collection for post-retrofit buildings;(E) The type of buildings for which simulation is applicable and different requirements for each - for example, new construction versus retrofit and residential versus commercial and multi-family buildings
2. What could the requirements and procedures to:(a) Ensure integrity and validity of model inputs and model default values, e.g. mitigate possible effects of the subjectivity of the modeller, avoid hidden default values in the model? (b) Account for possible change of use patterns (e.g., change of occupancy, change in appliance lifetime or in the life time of the building itself. (c) Monitor data for simulation, calibration, or cross checking, etc. (d) credibly validate/verify by a 3rd party entity, as required by CDM, the model simulation (inputs, calculation, and calibration) - What are the procedures that a doe should follow when reviewing a computer simulation based pdd
3. Are there any specific methods to safeguard/crosscheck and enforce the reliability of computer simulation approach?
4. How does the reliability and applicability of computer simulation compare with the alternative approach of metering with or without a control group?5. Should a methodology specify qualification requirements for computer simulation modelers and if so, what are those requirements?
<number>

## Slide 4: Narrow Down to 3 Questions for Today
1. What are advantages and disadvantages of modeling versus metering approach (MP is developing a metering based/control group methodology) for buildings
2. How to define baseline/reference/benchmark buildings?
3. How to ensure reliability and conservativeness of the calibration process?
<number>

## Slide 5: Deemed Savings Approach
Deemed savings are used to define savings values for projects with well-known and documented savings values.
  Deemed Measures values: For simple efficiency measures whose performance characteristics and use conditions are well known and consistent, a deemed savings approach may be appropriate
  Deemed Calculated Measures. A slightly more complex approach to estimating savings is to use simplified, pre-defined calculations that employ a combination of deemed or “default” input assumptions with some site-specific inputs.
The use of deemed values in a savings calculation is an agreement to accept a pre-determined value, irrespective of what actually “happens”.
Deemed values and deemed calculation approaches are often documented in a “Technical Reference Manual”
<number>
Notes: <number>

## Slide 6: IPMVP : Retrofit Isolation and Whole Facility
The Whole Facility Options:
<number>
The Retrofit Isolation Options:
Whole Facility Measurement Boundary
Motors
+ VSDs
Retrofit Isolation Boundary
Notes: www.evo-world.org
<number>
40
12
10
9
9
9
9
9
9
9

## Slide 7: Large-Scale Data Analysis Equations
<number>
preferred

## Slide 8: Calibrated Simulation
Typical Applications: Multifaceted energy management program affecting many systems in a facility but where no meter existed in the baseline period - new construction
Energy use measurements are used to calibrate a simulation.
Baseline energy use, determined using the calibrated simulation, is compared to either:
  a simulation of reporting period energy use, or
  actual meter data.
www.schiller.com Copyright 2011 Schiller Consulting, Inc.
<number>
Notes: <number>