Response of the Project Participants to the request for review for: "La Grecia cogeneration project" (1056)

Questions 1 and 2 are common to all requests for review. Therefore, the comments of the project participants to these questions are valid to all requests. In the following text, the reasons for request are italicized.

Requests 1, 2 and 3

1. Further justification should be provided regarding why a series of the highest observed active rates has been used as a benchmark, rather than the weighted average rates, for example.

We acknowledge that the use of the weighted average rates would be more conservative than the use of maximum observed rates. See below the information on annual weighted average rates for Honduras in 2002. It shows that the IRR of the project, 20.3%, is lower also than the average bank active rates.

| 2 0 0 2 | Active rates for loans |
| --- | --- |
| Jan | 23.13 |
| Feb | 23.08 |
| Mar | 23.11 |
| Apr | 23.08 |
| May | 22.89 |
| Jun | 22.92 |
| Jul | 22.81 |
| Aug | 22.63 |
| Sep | 22.43 |
| Oct | 22.07 |
| Nov | 22.09 |
| Dec | 22.06 |

Source: http://www.bch.hn/esteco/monetaria/tasapondmn.xls

2. The thermal firing capacity before and after the project activity should be clearly stated and it should be transparently justified how the requirement of scenario 14 of ACM0006 v4 that the project should “increase the power generation capacity, while the thermal firing capacity is maintained” has been met. It should be noted that it is stated in the methodology that “Where a combination of project activity and baseline scenario is not covered by this methodology, project participants are encouraged to submit proposals for revision or further amendment of this consolidated methodology.”

In the Response form for request for clarification on Approved Methodologies F-CDM-AM-Clar_Resp_ver 01.1 - AM_CLA_0035 / 0036, issued during the Meth Panel meeting of 15-19 Januay 2007, it was recognized that scenarios 11 and 14 of methodology ACM0006 have a certain overlap: some project types may effectively be applicable to both scenarios. It was also agreed that the difference between power capacity expansion projects and energy efficiency improvement projects may not be fully clear as currently stated in the methodology.

It was also stated that, for scenarios 11, 12, 13 and 14, no additional quantity of biomass residues is used as a result of the project activity. Any increases in the bagasse production in this project are due to La Grecia’s business expansion and can not be attributed to the implementation of the CDM project. The project itself does not have an impact in total thermal energy generation either, as project owners did not increase sugar production because of the project.

The project developers had exhaustive discussions with the DOE in order to define the scenario, 11 or 14, that better suits this kind of project activity. Scenario 14 was chosen because the equation to determine the additional electricity generation (EGy) for scenario 14 is more appropriate for this project than the equation for scenario 11. The equation for scenario 11 simply subtracts the historic electricity generation, while the equation for scenario 14 compares the efficiencies prior and after project implementation. In La Grecia project, the production of sugar is increasing and the combustion of bagasse as well. Hence, the electricity generation capacity would increase also in the baseline, just not to the same extent as in the project. The equation of scenario 14 captures this, while the equation for scenario 11 does not.

The numbers below show that the incremental biomass residue consumption is higher than the associated thermal energy generation during the project activity:

Baseline

| Boilers | 1 | 2 |
| --- | --- | --- |
| Capacity tons/h | 55 | 46 |
| Steam Enthalpy kcal/kg steam | 703 | 703 |
| Efficiency | 50% | 50% |

Average bagasse consumption: 217,000 tons

Project

| Boiler | 3 | 4 |
| --- | --- | --- |
| Capacity tons/h | 120 | 81 |
| Steam Enthalpy kcal/kg steam | 767 | 806 |
| Efficiency | 68% | 78% |

Bagasse consumption (2006/2007): 334,438 tons

Taking boiler capacity (tons of steam/h)*1000(tons to kg)*Enthalpy (kcal /kg steam) *4.18/3600000(kcal to MWh) * Harvest hours /Efficiency/Tons of bagasse, the following results were obtained:

Baseline =

(101*703)*1000*4.18/3,600,000 (kcal to MWh)*24*137/0.5/217,000 = 2.5 MWh/tons bagasse

Project=

(120*767 + 81*806)*1000*4.18/3,600,000*24*134/0.73/334,438 = 2.4 MWh/tons bagasse

Note that, with the expansion of sugar cane production, this same quantity of bagasse would be burned in the baseline, but with an efficiency lower than in the project. It must be stressed again that any increases in the bagasse production in this project are due to La Grecia’s business expansion and can not be attributed to the implementation of the CDM project.