## Sheet1
Main Item |  |  | Frequency | total Cost/yr
Gas Engine Maintenance cost
running hour/yr |  |  |  | 8760 | hr/yr
kWh |  |  |  | 300 | kWh
total kWh/yr |  |  |  | 2628000 | kWh/yr
O&M cost per kWh |  |  |  | 0.1 | RM
Total O&M cost per year |  |  |  | 262800 | RM
Other Item
pH Measuring Sensor (inlet) | 410 | RM | 2 | 820 | RM
pH Reference sensor (inlet) | 367 | RM | 2 | 734 | RM
pH Measuring Sensor (outlet) | 410 | RM | 2 | 820 | RM
pH Reference sensor (outlet) | 367 | RM | 2 | 734 | RM
portable pH meter's probe | 600 | RM | 1 | 600 | RM
COD in-house test | 6.2 | RM | 834 | 5170.8 | RM
COD 3rd party lab | 200 | RM | 104 | 20800 | RM
Maintenance of Pumps & Valves (estimated) | 29350 | Euro | 10% | 13501 | RM
Site Superviosr (2 pac) + OT | 1100 | RM | 2 | 26400 | RM
Gas Analyser
AcroDisk PTFE filter | 28 | Euro |  | 128.8 | RM
F-2T filter | 124 | Euro |  | 570.4 | RM
Purafill (1kg x 24) | 131 | Euro |  | 14462.4 | RM
Tube set for condensate pump | 27 | Euro |  | 124.2 | RM
Calibration gas 99.999% CH4 | 268 | Euro |  | 1232.8 | RM
Calibration gas 100% CO2 | 268 | Euro |  | 1232.8 | RM
Calibration gas 500ppm H2S | 350 | Euro |  | 1610 | RM
Reduce valve with flow indicator | 320 | Euro |  | 1472 | RM
Membrane for gas pump, N3KPE | 38 | Euro |  | 174.8 | RM
Certification Fee (estimated) |  |  |  | 15000 | RM
Misc Cost (estimated) |  |  |  | 40000 | RM
Total Cost |  |  |  | 408388 | RM
Contigency Cost (10%) |  |  |  | 40838.8 | RM
Grand Total Cost |  |  |  | 449226.8 | RM