Response of the Project Participants to the request for review for: "Ingenio Magdalena S.A. cogeneration project" (1044)

Questions 1, 2, 3, 4 and 5 are common to all requests for review. Therefore, the comments of the project participants to these questions are valid to all requests. In the following text, the reasons for request are italicized.

Requests 1, 2 and 3

1. Scenario 14 is applicable to energy efficiency projects with retrofit or replacement of the existing biomass power plant. However, there is no retrofitting or replacement until the end of 2007 (phase 3).

Any methodology scenario must be applied to the Project as a whole, not to specific phases. Otherwise, there might be different scenarios for each phase. At the end of the four phases of Magdalena Project, all baseline boilers and turbogenerators will cease to operate.

2. It has not been demonstrated in the PDD and validation report how the “same type and quantity of biomass residue as in the project” would be used in the absence of phase 1 and 2 of the project activity when existing cogeneration equipment continues to operate until the end of 2007 (phase 3).

Methodology ACM0006, version 4, says that “in the absence of the project activity, the existing power plant would continue to operate without significant changes, until it would need to be replaced at the end of its technical lifetime. The same type and quantity of biomass residues as in the project plant would be used”. The Project activity consists of four phases. With the complete installation of these four phases, existing cogeneration equipment will cease to operate. In the absence of the Project activity, configuration of the cogeneration equipment in the baseline scenario would not be changed, until the end of its technical lifetime. It must also be stressed that, as shown in section B.2 of the PDD, any increases in the sugar cane production are due to Ingenio Magdalena’s natural expanding business and can not be attributed to the implementation of the Cogeneration Project.

3. In addition, page 7 of the validation report confirms that the thermal firing capacity after the project activity has increased. It should be justified how the requirement of scenario 14 of ACM0006 v4 that the project should “increase the power generation capacity, while the thermal firing capacity is maintained” has been met. It should be noted that the methodology states that “Where a combination of project activity and baseline scenario is not covered by this methodology, project participants are encouraged to submit proposals for revision or further amendment of this consolidated methodology.”

In the Response form for request for clarification on Approved Methodologies F-CDM-AM-Clar_Resp_ver 01.1 - AM_CLA_0035 / 0036, issued during the Meth Panel meeting of 15-19 Januay 2007, it was recognized that scenarios 11 and 14 of methodology ACM0006 have a certain overlap: some project types may effectively be applicable to both scenarios. It was also agreed that the difference between power capacity expansion projects and energy efficiency improvement projects may not be fully clear as currently stated in the methodology.

It was also stated that, for scenarios 11, 12, 13 and 14, no additional quantity of biomass residues is used as a result of the project activity. Any increases in the bagasse production in this project are due to Magdalena’s business expansion and can not be attributed to the implementation of the CDM project. The project itself does not have an impact in total thermal energy generation either, as project owners did not increase sugar production because of the project.

The project developers had exhaustive discussions with the DOE in order to define the scenario, 11 or 14, that better suits this kind of project activity. Scenario 14 was chosen because

the equation to determine the additional electricity generation (EGy) for scenario 14 is more appropriate for this project than the equation for scenario 11. The equation for scenario 11 simply subtracts the historic electricity generation, while the equation for scenario 14 compares the efficiencies prior and after project implementation. In Magdalena project, the production of sugar is increasing and the combustion of bagasse as well. Hence, the electricity generation capacity would increase also in the baseline, just not to the same extent as in the project. The equation of scenario 14 captures this, while the equation for scenario 11 does not.

The numbers below show that the incremental biomass residue consumption is higher than the associated thermal energy generation during the project activity:

Baseline data

| Boiler | Steam (tons/h) | Steam enthalpy (kJ/kg) |
| --- | --- | --- |
| 3 | 34 | 3,040 |
| 4 | 41 | 3,040 |
| 5 | 45 | 3,209 |
| 6 | 68 | 3,209 |
| 7 | 102 | 3,209 |
| 8 | 136 | 3,209 |

Efficiency: 65%

Average bagasse consumption: 700,000 tons

Project data

| Phase | Steam (tons/h) | Steam enthalpy (kJ/kg) |
| --- | --- | --- |
| 1 (Boiler 9) | 75 | - 3,380.5 |
| 2 (Boiler 10) | 160 | 3,376.1 |
| 3 (likely configuration) | 160 | 3,376.1 |

Efficiency: 68%

Bagasse consumption: 975,000 tones

Taking boiler capacity (tons of steam/h)*1000 (tons to kg)*Enthalpy (kcal /kg steam) *4.18/3600000(kcal to MWh) * Harvest hours /Efficiency/Tons of bagasse, the following results were obtained:

Baseline =

{[(34+41)*3,040]+[(45+68+102+136)]*3,209}*1000*4.18/3600000*239/1000 (kJ to kcal)*24*30*5/0.65/700,000 =2.99 MWh/tons bagasse

Project =

[(65*3,381)+(2*160*3,376)]*1000*4.18/3600000*239/1000*24*30*5/0.8/975,000 = 1.96 MWh/ton bagasse

Note that, with the expansion of sugar cane production, this same quantity of bagasse would be burned in the baseline, but with an efficiency lower than in the project. It must be stressed again that any increases in the bagasse production in this project are due to Magdalena’s business expansion and can not be attributed to the implementation of the CDM project.

4. As specified in paragraph 24 of EB20 when requesting retroactive credits ex-post data vintage should be used for calculating baseline emission factor if both ex-ante and ex-post options are allowed.

We acknowledge that, for this Project activity, ex-post data vintage should be used for calculating baseline emission factor. Hence, for the first crediting period, the emission factor EFOM,y will be calculated ex-post. This will be corrected in section B.6.2 of the PDD.

5. The PDD does not include monitoring of OM and BM baseline emission factors for which both ex-ante and ex-post options are allowed in ACM0002 in line with requirement specified above.

Both OM and BM baseline emission factors will be monitored, in line with the requirement that ex-post data vintage should be used for calculating baseline emission factor. This will be corrected in section B.7.1 of the PDD.