## Values
Investor's Name | Vish Wind Infrastucture LLP
Enercon offer dated 12/07/2011
Offer Letter
WTGs | 33.1535 | 45 | 1491.9075
Concrete Tower | 5.94 | 45 | 267.3
Distribution Transformer | 1.7208 | 45 | 77.436
Civil works, foundation and electrical lines | 0.7595 | 45 | 34.1775
Erection, commissioning, insurance | 1.62 | 45 | 72.9
Land and Transportation charges | 1.1792 | 45 | 53.064
Transfer of Development right charges | 1.7136 | 45 | 77.112
Total | 46.0866 |  | 2073.897
Total Cost of Project |  |  | 2073.897
O & M | 0.59913 | 45 | 26.9607
1 years free
6% escalation, starting from 3rd yr.

## Assumptions
Investor Name | Vish Wind Infrastucture LLP
Parameters | Unit | Value | Source
Capacity of Machines in kW | MW | 0.8 | Enercon offer dated 12/07/2011
Total Number of Machines |  | 45 | Enercon offer dated 12/07/2011
Location |  | Kutch
Total Capacity | MW | 36 | Enercon offer dated 12/07/2011
Expected project commissioning date | Date | 2012-03-31 | Enercon offer dated 12/07/2011
Project Cost per MW (Rs. In Millions) | Million | 57.6082 | Calculated
Operations
Plant Load Factor | Percent | 24.5% | Third party PLF assessment report
Insurance Charges @ % of capital cost | Percent | 0.12% | Third party quotation
Operation & Maintenance Cost base year @ % of capital cost | Percent | 1.3% | Enercon offer dated 12/07/2011
% of escalation per annum on O & M Charges | Percent | 6% | Enercon offer dated 12/07/2011
Service Tax on O&M expenses | Percent | 10.3% | Income Tax Act (Financial Year 2011-12); Service tax @10% adding a gross education cess of 3% http://indiabudget.nic.in/ub2011-12/bs/bs.pdf
Pg, 31
Tariff
Tariff 2010-11 (Rs./kWh) | Rs. | 3.56 | GERC order Dated 30.01.2010, Pg 26
Tariff for after 10 years(Rs./kWh) | Rs. | 3.56 | Levelized tariff after 10 years comes out to be Rs. 2.10/kwh; conservatively taken as Rs. 3.50/kwh
Project Cost |  | INR Million
Land | Rs. Millions | 53.064
Total Project Cost | Rs. Millions | 2073.897 | Enercon offer dated 12/07/2011
Salvage Value | Rs. Millions | 255.1473 | As per CERC order dt. 03.12.2009 - Pg 27 http://www.cercind.gov.in/2010/November/Signed_Order_256-2010_RE_Tariff_FY_11-12.pdf
Depriciable Value | Rs. Millions | 2020.833
Means of Finance
Own Source | Percent | 100%
Term Loan | Percent | 0%
Total Source | Rs. Millions | 2073.897
Income Tax Depreciation Rate (Written Down Value basis)
Depreciation as per IT Act | Percent | 50% | http://www.incometaxindiapr.gov.in/incometaxindiacr/contents/ITRules2010/appendix264.htm
| Percent | 40%
| Percent | 8%
| Percent | 1.6%
| Percent | 0.32%
| Percent | 0.064%
| Percent | 0.0128%
Total depreciation on Wind Energy Generators | Percent | 100% | http://law.incometaxindia.gov.in/DIT/File_opener.aspx?page=ITRU&schT=rul&csId=4a23cee1-1818-45d6-ab19-f155e08ed789&rNo=&sch=Appendix%201&title=Taxmann%20-%20Direct%20Tax%20Laws
Book Depreciation Rate (Straight Line Method basis)
On all assets | Percent | 4.5% | Straight line method adopted as per 20 years of operational lifetime with 90% depreciable value
Book Depreciation up to (% of asset value) | Percent | 90%
Income Tax
Income Tax rate | Percent | 30.9% | http://indiabudget.nic.in/ub2011-12/fb/bill91.pdf
Pg, 35, para 25 (I)
Alternate Minimum Tax (AMT) | Percent | 19.05% | http://businessworldindia.com/bw/2011_04_02_Alternate_Minimum_Tax__A_New_Form_Of_MAT_For_LLPs.html
Working capital
Receivables (no of days) | Days | 30 | Billing Cycle
O & m expenses (no of days) | Days | 90 | Enercon offer dated 22/03/2011
Life of the Plant | Years | 20 | As per WTG Manufacturers Specification
CDM Revenue Inputs
Price per CER | Euro | 20
Exchange Rate | Rs. Per Euro | 63.65 | http://www.xe.com/ict/?basecur=EUR&historical=true&month=7&day=30&year=2011&sort_by=name&image.x=41&image.y=16
IRR |  | Without CDM | 9.291%

## Calculation
| Investor | Vish Wind Infrastucture LLP
BASE DATA
| Year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  | 2011-08-01 | 2012-03-31 | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31
| No. of WTG |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Installed Capacity (MW) |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
| PLF |  | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5% | 24.5%
| Days |  | 1 | 365 | 365 | 365 | 366 | 365 | 365 | 365 | 366 | 365 | 365 | 365 | 366 | 365 | 365 | 365 | 366 | 365 | 365 | 365 | 366
| Hours |  | 24 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
REVENUES
| Saleable Units |  | 0.21168 | 77.2632 | 77.2632 | 77.2632 | 77.4749 | 77.2632 | 77.2632 | 77.2632 | 77.4749 | 77.2632 | 77.2632 | 77.2632 | 77.4749 | 77.2632 | 77.2632 | 77.2632 | 77.4749 | 77.2632 | 77.2632 | 77.2632 | 77.4749
| Tariff Rate |  | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56 | 3.56
| Revenues from Seling Units |  | 0.75358 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106
| Carbon Revenues |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Salvage Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Revenue |  | 0.75358 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106 | 275.057 | 275.057 | 275.057 | 275.8106
EXPENSES
| O & M |  | 0 | 0 | 29.7376 | 31.5219 | 33.4132 | 35.418 | 37.543 | 39.7956 | 42.1834 | 44.7144 | 47.3972 | 50.2411 | 53.2555 | 56.4509 | 59.8379 | 63.4282 | 67.2339 | 71.2679 | 75.544 | 80.0766 | 84.8812
| Insurance |  | 0.0068183 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887 | 2.4887
| Total Expenses |  | 0.0068183 | 2.4887 | 32.2263 | 34.0105 | 35.9019 | 37.9066 | 40.0317 | 42.2843 | 44.672 | 47.203 | 49.8859 | 52.7297 | 55.7442 | 58.9395 | 62.3266 | 65.9169 | 69.7226 | 73.7566 | 78.0327 | 82.5653 | 87.3699
| PBDIT |  | 0.74676 | 272.5683 | 242.8307 | 241.0464 | 239.9087 | 237.1503 | 235.0253 | 232.7727 | 231.1385 | 227.8539 | 225.1711 | 222.3273 | 220.0664 | 216.1175 | 212.7304 | 209.1401 | 206.088 | 201.3004 | 197.0243 | 192.4917 | 188.4407
Less | Depreciation |  | 0.27683 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416
| PBIT |  | 0.46994 | 171.5267 | 141.7891 | 140.0048 | 138.8671 | 136.1087 | 133.9836 | 131.731 | 130.0969 | 126.8123 | 124.1294 | 121.2856 | 119.0247 | 115.0758 | 111.6888 | 108.0985 | 105.0464 | 100.2588 | 95.9827 | 91.45 | 87.399
Less | Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PBT |  | 0.46994 | 171.5267 | 141.7891 | 140.0048 | 138.8671 | 136.1087 | 133.9836 | 131.731 | 130.0969 | 126.8123 | 124.1294 | 121.2856 | 119.0247 | 115.0758 | 111.6888 | 108.0985 | 105.0464 | 100.2588 | 95.9827 | 91.45 | 87.399
Tax Calculation
| PBT |  | 0.46994 | 171.5267 | 141.7891 | 140.0048 | 138.8671 | 136.1087 | 133.9836 | 131.731 | 130.0969 | 126.8123 | 124.1294 | 121.2856 | 119.0247 | 115.0758 | 111.6888 | 108.0985 | 105.0464 | 100.2588 | 95.9827 | 91.45 | 87.399
Add | Book Depriciation |  | 0.27683 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416
Less | IT Depriciation |  | 1010.4165 | 808.3332 | 161.6666 | 32.3333 | 6.4667 | 1.2933 | 0.25867 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PBT |  | -1009.6697 | -535.7649 | 81.1641 | 208.7131 | 233.4421 | 235.857 | 234.7666 | 232.7727 | 231.1385 | 227.8539 | 225.1711 | 222.3273 | 220.0664 | 216.1175 | 212.7304 | 209.1401 | 206.088 | 201.3004 | 197.0243 | 192.4917 | 188.4407
| Cumulative Profit |  | -1009.6697 | -1545.4346 | -1464.2706 | -1255.5574 | -1022.1154 | -786.2584 | -551.4918 | -318.7191 | -87.5805 | 140.2734 | 365.4445 | 587.7717 | 807.8381 | 1023.9556 | 1236.686 | 1445.8261 | 1651.9141 | 1853.2145 | 2050.2388 | 2242.7305 | 2431.1712
Less | Sec 80 IA Benefit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140.2734 | 225.1711 | 222.3273 | 220.0664 | 216.1175 | 212.7304 | 209.1401 | 0 | 0 | 0 | 0 | 0
| Taxable profit |  | -1009.6697 | -535.7649 | 81.1641 | 208.7131 | 233.4421 | 235.857 | 234.7666 | 232.7727 | 231.1385 | 87.5805 | 0 | 0 | 0 | 0 | 0 | 0 | 206.088 | 201.3004 | 197.0243 | 192.4917 | 188.4407
| AMT |  | 0.089523 | 32.6758 | 27.0108 | 26.6709 | 26.4542 | 25.9287 | 25.5239 | 25.0948 | 24.7835 | 24.1577 | 23.6467 | 23.1049 | 22.6742 | 21.9219 | 21.2767 | 20.5928 | 20.0113 | 19.0993 | 18.2847 | 17.4212 | 16.6495
| Income Tax |  | 0 | 0 | 25.0797 | 64.4924 | 72.1336 | 72.8798 | 72.5429 | 71.9268 | 71.4218 | 27.0624 | 0 | 0 | 0 | 0 | 0 | 0 | 63.6812 | 62.2018 | 60.8805 | 59.4799 | 58.2282
| Tax Shield |  | -311.9879 | -165.5513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax payable |  | 0.089523 | 32.6758 | 27.0108 | 64.4924 | 72.1336 | 72.8798 | 72.5429 | 71.9268 | 71.4218 | 27.0624 | 23.6467 | 23.1049 | 22.6742 | 21.9219 | 21.2767 | 20.5928 | 63.6812 | 62.2018 | 60.8805 | 59.4799 | 58.2282
| PAT |  | 0.38041 | 138.8508 | 114.7782 | 75.5124 | 66.7335 | 63.2289 | 61.4407 | 59.8043 | 58.6751 | 99.7499 | 100.4828 | 98.1807 | 96.3505 | 93.1539 | 90.412 | 87.5057 | 41.3652 | 38.0569 | 35.1022 | 31.9701 | 29.1709
Working Capital
| Receivables |  | 0 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074 | 22.6074
| O & M |  | 0 | 0 | 7.3326 | 7.7725 | 8.2164 | 8.7332 | 9.2572 | 9.8126 | 10.373 | 11.0255 | 11.687 | 12.3882 | 13.0956 | 13.9194 | 14.7546 | 15.6398 | 16.5329 | 17.5729 | 18.6273 | 19.7449 | 20.8724
| Total Working Capital |  | 0 | 22.6074 | 29.94 | 30.3799 | 30.8238 | 31.3406 | 31.8646 | 32.42 | 32.9804 | 33.6329 | 34.2944 | 34.9956 | 35.703 | 36.5268 | 37.362 | 38.2473 | 39.1403 | 40.1803 | 41.2347 | 42.3523 | 43.4799
| Margin Money |  | 0 | 22.6074 | 29.94 | 30.3799 | 30.8238 | 31.3406 | 31.8646 | 32.42 | 32.9804 | 33.6329 | 34.2944 | 34.9956 | 35.703 | 36.5268 | 37.362 | 38.2473 | 39.1403 | 40.1803 | 41.2347 | 42.3523 | 43.4799
|  |  |  | 22.6074 | 15.2749 | 14.8349 | 14.3911 | 13.8742 | 13.3502 | 12.7948 | 12.2345 | 11.582 | 10.9204 | 10.2192 | 9.5118 | 8.688 | 7.8529 | 6.9676 | 6.0745 | 5.0345 | 3.9801 | 2.8625 | 1.735 | 204.7906
| CASH FLOW | 2011-08-01: 60%; 2012-03-31: 40%
Inflows
| Equity | 2011-08-01: 0; 2012-03-31: 0
| PAT |  | 0.38041 | 138.8508 | 114.7782 | 75.5124 | 66.7335 | 63.2289 | 61.4407 | 59.8043 | 58.6751 | 99.7499 | 100.4828 | 98.1807 | 96.3505 | 93.1539 | 90.412 | 87.5057 | 41.3652 | 38.0569 | 35.1022 | 31.9701 | 29.1709
| Book Depriciation |  | 0.27683 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416 | 101.0416
| Tax Shield |  | 311.9879 | 165.5513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Salvage Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 459.9379
| Total Cash Inflow | 0 | 312.6452 | 405.4438 | 215.8199 | 176.5541 | 167.7751 | 164.2705 | 162.4824 | 160.8459 | 159.7167 | 200.7916 | 201.5244 | 199.2223 | 197.3922 | 194.1955 | 191.4537 | 188.5474 | 142.4068 | 139.0986 | 136.1438 | 133.0118 | 590.1504
Outflow
| Capital Expenses | 2011-08-01: 1244.3382; 2012-03-31: 829.5588
| Increase/Decrease in Current Asset |  | 0 | 22.6074 | 7.3326 | 0.43995 | 0.44384 | 0.51684 | 0.52399 | 0.55543 | 0.56034 | 0.6525 | 0.66153 | 0.70122 | 0.70741 | 0.82377 | 0.83516 | 0.88527 | 0.89309 | 1.04 | 1.0544 | 1.1176 | 1.1275
| Total Cash Outflow | 1244.3382 | 829.5588 | 22.6074 | 7.3326 | 0.43995 | 0.44384 | 0.51684 | 0.52399 | 0.55543 | 0.56034 | 0.6525 | 0.66153 | 0.70122 | 0.70741 | 0.82377 | 0.83516 | 0.88527 | 0.89309 | 1.04 | 1.0544 | 1.1176 | 1.1275
| Net Cash Flow | -1244.3382 | -516.9136 | 382.8364 | 208.4873 | 176.1141 | 167.3313 | 163.7537 | 161.9584 | 160.2905 | 159.1564 | 200.1391 | 200.8629 | 198.5211 | 196.6847 | 193.3717 | 190.6185 | 187.6621 | 141.5137 | 138.0586 | 135.0894 | 131.8941 | 589.0229
| Equity Cash Flow | -1244.3382 | -516.9136 | 382.8364 | 208.4873 | 176.1141 | 167.3313 | 163.7537 | 161.9584 | 160.2905 | 159.1564 | 200.1391 | 200.8629 | 198.5211 | 196.6847 | 193.3717 | 190.6185 | 187.6621 | 141.5137 | 138.0586 | 135.0894 | 131.8941 | 589.0229
| Equity IRR | 2011-08-01: 9.291%

## Sensitivity
Sensitivity Analysis |  | Variation | -10% | Base Value | 10% | Breching Value | Benchmark
PLF |  | 0% | 7.66% | 9.29% | 10.78% | 65.7% | 17.78%
O&M |  | 0% | 9.54% | 9.29% | 9.01% | -453%
Project Cost |  | 0% | 10.67% | 9.29% | 8.1% | -43.5%
Tariff Rate |  | 0% | 7.66% | 9.29% | 10.78% | 65.7%
IRR | 9.291%

## Benchmark
Nominal Benchmark | 17.78%
Nominal Benchmark = {(1+ Real Benchmark[1])*(1+Expected Inflation Rate[2]) – 1}
={(1+11.75%)*(1+5.4%) – 1}
17.78%
[1] Default value for expected return on equity of 11.75% published by UNFCCC under investment guidance version 5.0 has been used by PP.
[2] Expected Inflation rate for over 10 years period has been published by RBI (http://rbi.org.in/scripts/PublicationsView.aspx?id=13050). As per investment guidance, inflation rate shall be obtained from the inflation forecast of the central bank of the host country for the duration of the crediting period. The crediting period for the project activity is 10 years and the mean WPI and CPI inflation rate are 5.40% and 6.4%. Conservatively, PP has selected 5.40% inflation rate based on data published by RBI.