## Slide 1: JI Projects in the Russian Power Industry Mikhail Rogankov Chief Executive Officer acting Energy Carbon Fund Tel.: +7 (095) 727 30 74 Fax: +7 (095) 727 30 96 E-mail: ecf@ecf.elektra.ru Web-site: сarbonfund.ru

## Slide 2: ECF organisational structure
Management Board
Inventory and
Monitoring
Founder - RAO UES
Council
Chairman:
Mr. A.Chubais
Projects,
R&D
International
Co-op & Market
Development
Established in: 2001
Status: Non-commercial investment environmental organisation
Mission: support environmentally sustainable development of the energy sector by using market based mechanisms to reduce GHG and other pollutants emissions
Founder: RAO UESR

## Slide 3: RAO UESR on a Country’s Energy Sector Scale
Share of power production in RF = 69.4%
Share of heat production in RF = 32.4%
Installed capacities = 156.6 GW
Electricity generation = 635.8 TWh
Heat generation = 468.8 mln. Gcal
Number of Employees = 577,600

## Slide 4: Structure of GHG emissions in Russia (according to the Third National Communication)

## Slide 5: PRIMARY ENERGY RESOURCES DEMAND (according to the Ministry of Energy in 2003)
Mln. tce

## Slide 6: Potential of organizational/technological measures of energy resources saving by sectors for the period till 2020

## Slide 7: UESR IS “CONDEMNED” TO JI
50% of equipment has reached the end of its lifetime (needs replacement/refurbishment)
67% of gas in the fuel mix – a nice opportunity for combined cycle technology and gas turbines
Non-conventional renewables are less than 1% in the power mix while a lot of regional power utilities wants to develop them (a number of projects are well developed)
5,000 small hydro - in oblivion and needs rehabilitation
Typical situation: CHP plants can replace old and low efficient boiler-houses’ and provide district heating improvement
In some cases switch from coal/heavy oil to gas can be provided
A great number of project proposals are facing the investment barrier

## Slide 8
Diversity of projects
Geographical:
From Kaliningrad
to Vladivostok
Technological:
Combined cycle
Switch to gas
Renewables
CHP
Local improvements (program projects)
Scale of projects:
from 1 MW to 450 MW
From 1 mln. Euro to ….
Short-term (from 1.5 years)
Mid-term
Long-term

## Slide 9
  Combined Cycle instead of Steam turbines
  Upgrading TPPs with gas turbines
  Switch from coal/heavy oil to gas
  Improvements in CHP and district heating systems (including decommissioning of old low efficient boiler houses)
  Renewables: rehabilitation of mini hydro (5,000 stations from 1 to 5 MW)
  wind stations (on-shore and off-shore):
  geothermal plants at Kamchatka peninsular (big program):
  medium-scale hydro
  Program projects (a number of small-scale measures of the same type united in one program):
  small steam turbines instead of steam pressure reduction and cooling devices;
  small hydro plants;
  variable speed motor drives, etc., etc.
  THERE IS ROOM FOR JI AT MOST OF UESR’s POWER PLANTS
Project Technology Diversity in RAO “UESR”

## Slide 10: RAO “UESR’s” Carbon Potential
Resource | Emission reductions, M ton for the period | Carbon incomes, M Euro
ERUs from JI in 2008-2012 (70 small- and medium scale projects) | 58-85 | 580-850
2. Emission reductions from JI in early stage 2005-2008 | 30-45 | 210-270
Plus:
Emission Trading at international markets
(if UESR is authorized to do that with the gained emission reductions versus quota).
Emission Trading through National ETS and Intercorporate ETS
(Both compatible with EU ETS. Both are under development)

## Slide 11: 9 PDDs have been developed by Energy Carbon Fund
Ufa CHP plant No. 4 - gas turbine
2x3.15 MW Pravdinsk Hydro No. 3 – small Hydro
50 MW off-shore wind park in Kaliningrad region
450 MW unit at Shekinsky TPP - combined cycle technology
450 MW unit at Tomsk CHP No. 3 – combined cycle + flare gas
6.5 MW unit at Mutnovckaya Geo Power Plant – Geothermal Plant
___________________________________________________
Mednogorsk CHP - 2x10 MW combined cycle + district heating
Kirishi TPP – switch from heavy oil to gas (2 boilers)
Amursk CHP No. 1 – switch from coal to gas (2 boilers) + optimization of the plant performance
RED – are the projects participating in ERUPT-4,
they have been validated by TUV Sueddeutschland in 2004

## Slide 12
You are welcome to UESR and Energy Carbon Fund both for JI development and R&D
You will deal with the company which:
By 52% is owned by the Russian Government;
Has the full GHG inventory for 365 power plants from 1990 approved by independent entity (Environmental Defense – USA) and by Russian independent experts;
Has a functioning GHG monitoring system throughout the Company and regional utilities;
Has an experience in participating in 4 foreign tenders;
Has 9 PDDs already developed, 3 validated;
Has its own methodologies, standardized baselines, etc.;
Has a project database (320 project proposals and 27 of priority) and criteria to select carbon projects
HAS A WILL TO ACHIEVE REASULTS !!!

## Slide 13: PROBLEMS OF JI PROJECTS
Additionality – projects have a double origin: efficiency and GHG reduction. There is no means to separate them from each other. Host company will not deal with economically non-efficient project
JI procedures were not discussed at COP 9 (CDM methodologies are used)
No difference between large scale projects and small-scale
Some technologies go without saying for JI (renewables, switch for gas and biomass, use of flare gas, methane from coal mines, etc.)
There is double validation: national and international (some outcomes could be recognized by another validator)
JI requirements are becoming more and more complicated
There is little time left to prepare and start JI projects before 2008
ECF database on JI projects: overview

## Slide 14: GHG Emissions in the Power Sector according to the Inventory
708,5
470,2
487,8
475,7