## Slide 1: Materiality in the CDM
25th March 2012
Gareth Phillips
Chair, Project Developer Forum
Chief Climate Change Officer, Sindicatum Sustainable Resources
Notes: <number>
24 November 2011

## Slide 2: Background
Materiality is a concept that is widely applied in data auditing and verification circles
It is used as a means of helping verifiers to define the audit schedule and as a means of dealing with minor (immaterial) “issues” with data sets
PPs and DOEs have tried to explain materiality to the EB on several occasions, failing miserably
The application of materiality that I am presenting is NOT the full scope of materiality, but it is what the Parties have accepted to date
If DOEs have a different view, they need to engage with the Parties before and at SB and CMP meetings and do a better job of explaining materiality
Project Developer Forum

## Slide 3: Materiality and Environmental Integrity
At present, there is no consistent or accurate means of dealing with minor issues with data sets.
When such issues are detected, values are zeroed out / set at 100% capacity or we have to request a deviation; DOEs are reluctant to do anything that is not the most conservative option
Zeroing out values actually serves to introduce more errors into a verification; is un-necessarily conservative and means that in some cases ERs do not equal BE-PE-LE
Different DOEs deal with these issues differently and there is no reporting of such issues
Applying materiality, identifying and quantifying such errors ADDS integrity and transparency to the process.
Project Developer Forum

## Slide 4: Guidance from CMP
Defines material information as a piece of information the omission, misstatement or erroneous reporting of which could change a decision by the EB
Or alternatively, immaterial information is a piece of information the inclusion, correction or estimation of which would NOT change a decision by the EB.
Also decides that information related to a clean development mechanism project activity shall be considered material if its omission, misstatement or the non-compliance with a requirement might lead, at an aggregated level, to an overestimation of the total emission reductions or removals achieved by a clean development mechanism project activity equal to or higher than [the following thresholds]
If you look at the size of the thresholds, its clear that the CMP do not expect materiality to be applied to help define an audit schedule – you need 5% materiality to do this
Project Developer Forum

## Slide 5: Purpose and application of the guidance
The purpose of this guidance is to simplify the process of verification without impacting upon the environmental integrity of the CDM.
In applying the guidance, DOEs are empowered to accept replacement values such as estimated values, which can be corroborated using other verifiable information, to the extent that the aggregated value of the data in question does not exceed the given thresholds.
  For example, when a meter fails for a short period of time but there is evidence to show that the plant was otherwise operating normally, the PP can fill the gap with the average of before and after values; DOE can corroborate the assumption of continuous operation from other data and accept the estimated values
Such replacement values do NOT need to be calculated using procedures which are included in the monitoring report
Project Developer Forum

## Slide 6: Application of the guidance cont.
Such corrections can be made to data relating to both baseline and project emissions because in calculating the materiality, the value of the data is aggregated (i.e. whether its an increase or decrease in emissions is irrelevant).
The materiality threshold is calculated as the aggregated value of the corrected baseline emissions plus corrected project emissions divided by aggregated value of the entire baseline ad project emissions for the reporting period in question, expressed as a percentage.
An example follows:
Project Developer Forum

## Slide 7: Example from a real monitoring plan
Five different types of failures were identified.
1) Communication disconnect between Flare PLC and central PLC, flare CH4% and flame temperature signal are lost
We do not have a back up means of confirming that the flare was operating therefore we cannot prove that this was just a signal failure and provide an estimated reading.
This error lost an estimated 196 CERs
2) No.1 and No 3 engine running but gross power and differential pressure data both are missing.
Again, cannot prove plant was operating
Estimated loss of CERs – 36
3) Replacement of relative pressure with absolute pressure at the outlet of phase 2 pre-treatment
Change algorithim, no impact on CERs
Project Developer Forum
Table 1: Special events during Duerping MR5

## Slide 8: Example cont.
4) No.2 engine running but DP=0Kpa because DP trans sample pipe is frozen.
Multiple events totaling 324 CERs
Evidence is available that the engine is running on the basis of gross power output
Gas consumption can be estimated from gross power output using manufacturers specifications
5) 35KV system communication was lost and power meter reading displayed Zero.
No action required because when connection was re-established meter read the correct total
No impact on CERs
So, out of five types of error, one could be corrected, two had no impact and two resulted in loss of CERs
Project Developer Forum

## Slide 9: Calculation of materiality
Table to the right shows the different values obtained for volumetric flow of methane in m3 per month with corrected and uncorrected data related to error number 4
Project Developer Forum

## Slide 10: Calculation of materiality
This table shows the Baseline and Project emissions under both scenarios
The difference in the aggregated value is 425 out of a total data set of 133407
The percentage of data which is impacted is
425 / 133407 = 0.32%
Materiality threshold for this project is 1%.
Project Developer Forum

## Slide 11: Conclusion
DOE is able to verify the estimated values as being a more accurate determination of CERs compared to zeroing them out
PP gets the CERs which they have generated
Errors and failures in the monitoring system are better understood
PP should now consider whether to implement procedures or invest in more equipment to monitor the operation of the flare. Can evaluate the likelihood of breaching the threshold and the financial penalty
The monitoring system, data and errors are better understood and more transparently explained, leading to greater environmental integrity
Project Developer Forum

## Slide 12
Thank you for listening
The Project Developer Forum (PD-Forum) is a collective voice to represent the interests of companies developing greenhouse gas (GHG) emission reduction projects in international markets under the Clean Development Mechanism (CDM), Joint Implementation (JI) and other carbon emission reduction schemes and programs.
See our members at: www.pd-forum.net
Project Developer Forum
Notes: 24 November 2011
<number>